Titration Curve of a Polyprotic Acid

AP Chemistry

Materials & Equipment:

0.1-M NaOH solution

0.1-M H3PO4 solution

(3) 250-mL beakers

100-mL graduated cylinder

Stirrod

Funnel

Buret and stand and small cork

Phenolphthalein

DI water bottle

LabPro, graphing calculator, link cable, pH probe

- Set up the pH probe, link cable, CBL unit, and TI calculator:

  - From APPS, run DATAMATE.

  - The initial pH of the probe (in the storage solution) should be about 4.

  - Go to SETUP, then MODE.  Select EVENTS WITH ENTRY.  (This will allow you to enter the volume of NaOH added, and the CBL will record the corresponding pH.)

  - Select START when you’re ready to begin.

  - Press ENTER to record the volume; press STO when you are completely finished.

  - Record the data (volume of NaOH added and pH).

- Titrate three separate 25-mL aliquots of the unknown acid in three separate 100-mL beakers.

  - Fill the buret exactly to the 0.00 mark to begin titrating.

- Plot the titration curves using Excel.

- Determine the pKa and Ka values for the unknown acid.

- Determine the molarity of the acid solution and the volumes necessary to reach the equivalence points.

- Standardize 0.1 M NaOH with 0.2 – 0.5 g KHP in 100 mL DI H2O.

- Set up the pH probe, link cable, CBL unit, and TI calculator:

  - From APPS, run CHEMBIO.

  - Go to SET UP PROBES and do so.  For calibration, USE STORED.

  - Go to COLLECT DATA and select MONITOR INPUT.

- Titrate two separate 25-mL aliquots of phosphoric acid in two separate 250-mL beakers.  Be sure to allow any air bubbles to escape the buret, and that the initial volume in the buret is at or below 0.00.

- Determine the pKa and Ka values (1 & 2) for phosphoric acid.

- Determine the molarity of the acid solution and the volumes necessary to reach the equivalence points.

CALCS:

- Part 1: molarity of NaOH

- Part 2: 	molarity of H3PO4

pKa and Ka values (1 & 2) for phosphoric acid.

GRAPH: 1 graph for each phosphoric acid titration trial